Data Quality Assessment

CCLAS 6 ICP-MS QC Dataset — Field Classification & AI Utility

Field Classification

| # | Field Name | Priority | AI Utility / Notes |
| --- | --- | --- | --- |
| 1 | ANALYTICAL_TYPE | Essential | Core filter for model segmentation (e.g., isolating Matrix Spikes, Blanks, Duplicates). |
| 2 | NUMERIC_FINAL_VALUE | Essential | The primary target variable; used for outlier detection and recovery math. |
| 3 | INTERNAL_TARGET_VALUE | Essential | The "Ground Truth" used to calculate deviations and recovery percentages. |
| 4 | PARENT_NUMERIC_FINAL_VALU E | Essential | Critical for Matrix Spikes: subtract background matrix level from combined result to isolate spike recovery. |
| 5 | ANALYTE_CODE | Essential | Handles analyte-specific behaviour (e.g., volatility differences between Gold and Copper). |
| 6 | STD_LOT_CODE | Essential | Primary grouping key. All analysis MUST be performed per Standard Lot Code — each lot is a unique reference material with its own target value and tolerance range. Mixing lots produces misleading multi-modal distributions. |
| 7 | SCHEME_CODE | High | Provides chemical method context; vital for hierarchical clustering (e.g., DBSCAN). |
| 8 | ANALYSED_DATE | High | Required for temporal trend detection and contextual anomalies (e.g., reagent lot shifts, instrument drift over time). |
| 9 | STAT_DL_VALUE | High | Used to scale detection criteria for low-level analytes (concentration-dependent variability). |
| 10 | UNIT_CODE | Medium | Normalisation field; ensures all calculations use the same scale (e.g., PPM vs PPB). |

| # |  | Field Name |  |  |  |  | Priority | AI Utility / Notes |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 11 |  | STANDARD_STATUS |  |  |  |  | Medium | System-generated CCLAS flag (PASS / WARNING / FAILURE). Use with caution as a validation reference — do NOT use directly as a supervised learning label without first excluding ignored results. |  |  |  |  |  |  |  |
| 12 |  | PRECISION_STATUS |  |  |  |  | Medium | Validation label; used to compare AI results against manual precision checks. |  |  |  |  |  |  |  |
| 13 |  | INTERNAL_MIN_VALUE |  |  |  |  | Low | Static rule threshold; AI should aim to discover these boundaries statistically rather than relying on hard-coded limits. |  |  |  |  |  |  |  |
| 14 |  | INTERNAL_MAX_VALUE |  |  |  |  | Low | Static rule threshold; useful as a safety net but not sufficient for advanced pattern detection. |  |  |  |  |  |  |  |
| 15 |  | INTERNAL_MIN_INCLUSIVE |  |  |  |  | Low | Metadata for existing rules; provides context for hard-coded QC failures. |  |  |  |  |  |  |  |
| 16 |  | INTERNAL_MAX_INCLUSIVE |  |  |  |  | Low | Metadata for existing rules; provides context for hard-coded QC failures. |  |  |  |  |  |  |  |
| 17 |  | INTERNAL_MIN_WARNING |  |  |  |  | Low | Warning threshold; used for sensitivity tuning in alert generation. |  |  |  |  |  |  |  |
| 18 |  | INTERNAL_MAX_WARNING |  |  |  |  | Low | Warning threshold; used for sensitivity tuning in alert generation. |  |  |  |  |  |  |  |
| 19 |  | MIN_WARNING_INCLUSIVE |  |  |  |  | Low | Metadata for warning rules; used to explain why a baseline flag was triggered. |  |  |  |  |  |  |  |
| 20 |  | MAX_WARNING_INCLUSIVE |  |  |  |  | Low | Metadata for warning rules; used to explain why a baseline flag was triggered. |  |  |  |  |  |  |  |
| 21 |  | SPECIFICATION_CODE |  |  |  |  | Low | Categorical context; often redundant when Scheme and Analyte codes are present. |  |  |  |  |  |  |  |
| 22 |  | LIM_REP_VALUE |  |  |  |  | Metadata | Reporting limit; used for final output formatting but not statistical modelling. |  |  |  |  |  |  |  |
| 23 |  | LIM_REP_UP_VALUE |  |  |  |  | Metadata | Upper reporting limit; helps define extreme outlier boundaries. |  |  |  |  |  |  |  |
| 24 |  | STAT_DL_UP_VALUE |  |  |  |  | Metadata | Statistical upper detection limit; used for data cleaning and clipping. |  |  |  |  |  |  |  |
| 25 |  | JOB_CODE |  |  |  |  | Exclude | Unique job ID; causes overfitting — model memorises jobs rather than patterns. |  |  |  |  |  |  |  |
| 26 |  | STD_CODE |  |  |  |  | Exclude | Primary sample identifier; acts as noise for generalised pattern recognition. |  |  |  |  |  |  |  |
| # |  | Field Name |  |  |  |  | Priority | AI Utility / Notes |  |  |  |  |  |  |  |
| 27 |  | INSTRUMENT_ID |  |  |  |  | Exclude | Machine identifier. Current dataset contains data from a single instrument only, making this field constant and non-informative. Re-evaluate if multi-instrument data is added in future. |  |  |  |  |  |  |  |
| Essential |  |  | High |  | Medium |  |  |  | Low |  | Metadata |  | Exclude |

Recommended Preprocessing

# Segment by STD_LOT_CODE first

Filter and group data by STD_LOT_CODE before any analysis or modelling. Never mix lot codes — each represents a unique reference material with its own target value and tolerance range. This is the single most critical preprocessing step confirmed by Datamine.

# Exclude ignored QC results

Filter out records where STANDARD_STATUS or PRECISION_STATUS have been manually ignored by the chemist.

These are non-representative data points that will corrupt training labels and statistical baselines if included.

# Feature selection

Drop Exclude-classified columns (JOB_CODE, STD_CODE, INSTRUMENT_ID) before modelling. These are identifiers that cause overfitting or add no signal in the current single-instrument dataset.

# Derived recovery feature

Calculate a RECOVERY column as: (NUMERIC_FINAL_VALUE / INTERNAL_TARGET_VALUE) × 100. This normalised value is method-agnostic and more stable as a primary modelling feature than raw NUMERIC_FINAL_VALUE. Note: this is a derived field, not present in the raw CCLAS export.

# Handle near-zero duplicates

For Duplicate/Replicate samples, exclude pairs where the average concentration is approximately zero. RPD (Relative Percent Difference) becomes undefined or unstable near zero — confirmed by Datamine (6 May meeting).

# Encoding

Apply one-hot encoding to SCHEME_CODE so the model understands the chemical method context of each test.

INSTRUMENT_ID should not be encoded in the current dataset as it is constant.

# Time-ordering

Sort by ANALYSED_DATE before running any temporal drift detection. Ensure date parsing handles edge cases (e.g., hour values out of expected range) before model training.